
[bookmark: _Hlk501545524][image: Cecapi+baseline]		POSITION PAPER

15th September 2018

CECAPI comments 
on the Ecodesign preparatory study for Building Automation and Control Systems (BACS) implementing the Ecodesign Working Plan 2016-2019


CECAPI, the European Committee of Electrical Installation Equipment Manufacturers, have analyzed the Ecodesign preparatory study presented by the European Commission at 20 July 2018 and wants to submit the following opinions and comments:

Page 24: 
The ongoing review study on Standby Commission Regulation 1275/2008 indeed defined “local building controls (IBAC) in their documents. Alter consultation this term will be changed by “motor-operated building elements” with the following definition:

motor-operated building elements are products that move or rotate opening elements and/or comfort elements in buildings excluding ventilation equipment. The products incorporate electric motors or actuators and the control unit as one entity and are operated by the end user through wired and/or wireless controls or via a network, or controlled automatically with the use of sensors.

Page 36: 
1.2.7.2
Home and Building Electronic Systems (HBES) are used in residential and non-residential environments to cover user specific applications and cannot be seen as a special category of BACS.

The term “special categories” need to be deleted in the title and CECAPI opposes to the first sentence. 
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The EN 50491 series of standards are important for HBES/BACS systems and define safety, environment and EMC requirements. They should also be mentioned in this clause. 

Their work also addresses standardisation for the communication systems used by BACS (for example, the EN 50090 series which are a set of KNX standards and EN 50491 series providing system requirements for safety, environment and EMC).

Editorial remark:
Replace CEN by CENELEC to read:
The CENELEC committee CLC TC205 on “Home and building electronic systems (HBES) … 

In the last sentence of 1.2.7.2 also CEN TC205 should be replaced by CLC TC205.

Page 38
1.3.1
This clause provides the most relevant European standard committees.
In this clause the CENELEC committee dealing with HBES shall be listed.
CLC TC 205: Home and Building Electronic Systems (HBES)

Page 63:
Although the expected savings in the list is an estimation from the consultants, CECAPI believes that saying that lighting occupancy and shading control in residential premises is not relevant is also not correct. At least the impact should be put to “low”.

Page 66: item 2.1.5
Although at first sight the proposal seems to be a good solution for the reparability of the products, it does create additional contacts which decreases the reliability, increases the cost, and could lead to shorter lifespan and safety problems. The use of these holders is in many cases also not possible based on size (e.g flush mounting boxes). The example is therefore not the most relevant and should be deleted. 
The scoping study should not insinuate possible ecodesign requirements. 
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